What are Industrial Control Systems (ICS)?

According to the Automation Program (2021) article. The Industrial Control Systems or commonly referred as ICS is a group of automation systems that allows the operators the ability to monitor and control various industrial processes that makes the modern manufacturing possible.

Where are Industrial Control Systems used?

Awati R. (2024) from TechTarget said that ICS is used on many sectors this includes the following:

- Manufacturing.

- Chemical Processing or production.

- Oil Processing

- Telecommunications.

- Food and beverage production.

- Automotive.

- Pharmaceuticals.

What are the ICS Components?

Smith B. (2024) from BitSight tackles the different components of Industrial Control Systems (ICS). These are the following components:

- General Purpose Operating System (GPOS): These are the systems we commonly see in our computers and we commonly use, like Linux, MacOS, or Windows. They provide services to the end users. GPOS are designed to prioritize responsiveness and process starvation.

- Real Time Operating System (RTOS): Another type of operating system that is designed to limit the services provided to the user, and prioritize meeting deadlines for critical tasks.

- Programmable Logic Controller (PLC): A low-level computing device used to run s RTOS. It is usually made in a software running on an engineering workstation. Its primary job is to read inputs and write outputs based on the latter, both can come from either digital or analog and it can be attached to various physical device like valves, pressure sensors and other types, motors, and actuators.

- Supervisory Control and Data Acquisition (SCADA): An architectural model for control systems and software types running those systems. A SCADA system gets data, gives process visualizations, and a control interface for the overall process involving many industrial systems.

- Human Machine Interface (HMI): A panel that displays data and provides control for a machine.

What is the ICS Common Vulnerabilities?

Zeifman I. (2023) of Sternum discussed the challenges and best practices of regarding the ICS. Here are some of the vulnerabilities he listed:

- Insecure Networks and Protocols: Due to a lot of ICS Technologies was developed in the past where cybersecurity was not in mind. These systems often lack even the basic security features like encryption, authentication, and access control. Therefore, this puts them in vulnerable attacks like data theft or DDoS attacks.

- Insider Threats: Insider threats are attacks that came from within the organization/company, it can be unintentional, or motivated, but regardless insider threats can cause huge damage, this includes data loss, system disruptions, and reputational harm.

- Supply Chain Vulnerabilities: The ICS supply chain, represents the software, hardware, and third parties that ICS relies for its ongoing operations. Such vulnerabilities can arise from various sources, this includes insecurities from the supply chain components itself, insufficient security measures from third party services, or insecure physical transportation of equipment. This concern in this vulnerability have been increasing due to increasing sophistication of attackers and global-scale attacks.

- Poor Physical Security: Without proper physical security measures, unauthorized individuals could gain access to sensitive areas and tamper with the equipment or steal data. This is worrisome in terms of critical infrastructures and where physical attacks can lead to huge damage. Many organizations disregard the importance of physical security and tends to focus more in cybersecurity. However, the two is linked to each other. A failure in one another can lead to breaches. This is why a trustworthy ICS security covers both the physical and cybersecurity aspect.

What are the challenges in implementing ICS Security?

- Legacy Systems and Backward Compatibility: Many ICS lack the necessary security features to defend against modern cybersecurity threats. Updating these systems with robust security measures, while ensuring compatibility with existing infrastructure, is a significant challenge. Since replacing entire systems is often too costly and disruptive, security measures must be implemented in a way that does not hinder the system’s functionality. Balancing security implementation with system performance is a key challenge for many organizations.

- Network Isolation: Network isolation, or air-gapping, is commonly used in ICS to protect against online threats by physically or logically separating them from external networks. While this reduces the attack surface and unauthorized access, it also limits the ability to deploy client-based security solutions that require communication with remote servers. Additionally, isolation delays the deployment of security updates, increasing vulnerability to zero-day threats. Monitoring and detecting security incidents are also more difficult in isolated networks, and these systems may lack effective data backup and recovery mechanisms.

- Real-Time Requirements and Constraints: Many ICS operate in real-time, controlling critical processes that cannot tolerate delays or interruptions. The real-time nature of these systems limits the security measures that can be implemented. For example, encryption, commonly used in IT security, can introduce delays in data transmission, making it unsuitable for ICS. Overcoming these challenges requires innovative solutions and a deep understanding of ICS environments to ensure both security and system performance.

- Lack of Awareness and Training: Despite the increasing threat of cyber-attacks on ICS, there is often a lack of awareness and training among those responsible for these systems. Many ICS operators have engineering backgrounds rather than IT expertise, which may leave them unaware of cybersecurity risks and best practices. Additionally, senior management may not fully grasp the potential impact of a cyberattack on their ICS, resulting in insufficient investment in security measures. While awareness is gradually improving, this gap in knowledge and training remains a significant barrier to effective ICS security.

- Organizational and Jurisdictional Challenges: In many organizations, the responsibility for ICS security is split between the IT and engineering departments, leading to confusion, lack of ownership, and ineffective security measures. Additionally, global organizations face jurisdictional challenges, as different countries have varying regulations and standards for cybersecurity. This makes it difficult to implement a consistent security strategy across all locations. Overcoming these challenges requires clear communication, collaboration, and a comprehensive understanding of international cybersecurity regulations.

Securing ICS

Raza M., Dunn S. (2024) discuss some of the securities implemented in ICS.

- Asset and State Discovery: This type of ICS security focuses on real-time asset and state discovery by enabling SCADA systems and sensors to:

- Identify all assets and their operational states, functional behavior, and overall health.

- Track changes in real-time due to usage demand or environmental factors.

- Include connected devices and sensors not yet integrated into the data acquisition pipeline.

Real-time discovery improves monitoring coverage and addresses gaps in asset visibility.

- Anomaly detection: ICS security system aims to:

- Identify and predict operational changes.

- Monitor the health and state of OT operations.

- Implement real-time security controls.

Cyberattacks, like the 2007 Stuxnet virus, exploit ICS vulnerabilities stealthily, risking catastrophic damage. Deploying IDS/IPS systems enables real-time monitoring of remote traffic, user commands, and environmental variables to detect and prevent such threats.

- Access Control: Access controls in ICS security emphasize the Principle of Least Privilege, granting users and systems only the minimal access needed for their tasks. Weak security practices, like using basic passwords for high-level access, can lead to intrusions and unauthorized escalation of SCADA control rights.

- Physical security: Physical Security is crucial for ICS devices, which are often managed remotely and rely on widely distributed sensors. Enhancing physical security can be challenging, but anomaly detection tools can complement these efforts. For example, discrepancies like abnormal sensor readings while SCADA systems function normally may indicate sensor malfunction or tampering. Software tools like IDS/IPS can strengthen physical security and improve overall ICS security.

References:

- Automation Technician Training. (2021, December 22). Introduction to Industrial Control Systems. Automation Program. https://www.automationprogram.com/news-blog/introduction-industrial-control-systems

- Awati, R. (2024, June 7). What is an Industrial Control System (ICS)?: Definition from TechTarget. WhatIs. https://www.techtarget.com/whatis/definition/industrial-control-system-ICS

- Smith, B. (2024, August 6). A brief introduction to Industrial Control Systems and Security. Bitsight. https://www.bitsight.com/blog/brief-introduction-industrial-control-systems-and-security

- Zeifman, I. (2023, July 18). ICS security: Critical challenges and solutions. Sternum IoT. https://sternumiot.com/iot-blog/ics-security-critical-challenges-and-security-solutions/

- Raza, M., Dunn, S., & Splunk. (2024, October 4). Security for Industrial Control Systems (ICS). Splunk. https://www.splunk.com/en_us/blog/learn/industrial-control-systems-security.html